## Slide 1: Hydrogen Pipeline Systems Code of Practice – wrap up
Dissemination Workshop March 2025

## Slide 2: Background
Project Proposal – Industry Need (2021)
AS2885 does not currently provide requirements for hydrogen service, and does not consider the different design and material limitations or the associated conditions to safely accommodate hydrogen as a fluid.
This project will provide industry with a Code of Practice for Hydrogen pipeline design and operation, including pipelines carrying hydrogen/methane blends and existing pipelines that are converted to hydrogen service and covering both carbon steel and composite materials.
A future phase of this project is anticipated at the end of the FFCRC life, to incorporate outcomes of research that has not yet been completed.

## Slide 3: World class research
Example FE mesh on dent-gouge damage in hydrogen service.
Hydrogen distribution grid test bed at Deakin University
Hydrogen materials test lab at the University of Wollongong
Industry led research through Future Fuels CRC

## Slide 4: Engineering guidance for hydrogen pipelines
Engineering guidance is constantly developing internationally and not in isolation
ASME B31.12: 2023: Hydrogen Piping and Pipelines
CSA 2024: Assessment of Natural Gas Pipeline Materials for Hydrogen Service
EPRG 2024: Hydrogen Pipelines Integrity Management and Repurposing Guideline White Paper
EPRG 2024: Best Practice guidelines for small scale fracture toughness testing in hydrogen gas of carbon steel pipeline material
PRCI CER 2024: for Pipelines in Hydrogen and Hydrogen Blend Service
FFCRC 2024: Hydrogen Pipeline Systems Code of Practice

## Slide 5: Read the instructions
*The CoP is not exhaustive, due to current limited operating experience and understanding that continues to evolve to close gaps*
Chapter 1:
The purpose of this Hydrogen Pipeline Systems Code of Practice (CoP) is to provide guidance based on current knowledge for the design, construction and operation of transmission pipeline systems transporting gaseous hydrogen or blends of hydrogen and hydrocarbon fluids.
Although the CoP may be further developed into a published standard in the future, this current revision of the CoP is not equivalent to a formal, published Australian standard.

## Slide 6: Plagiarism warning…..
Josh Wickham’s best late-night work is coming up next

## Slide 7
https://www.futurefuelscrc.com/project/rp3-2-10-hydrogen-pipeline-code-of-practice-design-construction-and-operation/
The Hydrogen Pipeline Code of Practice:
Design, Construction and Operation
“Guidance and recommended practice for the design, construction and operation of transmission pipeline systems for transporting hydrogen or blends of hydrogen and hydrocarbon fluids”
Publication Status

## Slide 8
2008-2014
ASME B31.12
1st – 3rd Rev
FFCRC COP Research Proposal
2021
June2024
FFCRC COP
1st Rev Published
2019
ASME B31.12
4th Rev
2023
ASME B31.12
5th Rev
Oct 2024
CoP Development
CERs
Published
June
2025
APGA COP
2nd Rev Published
Energy Pipelines CRC (2009 – 2019)
Future Fuels CRC (2018 – 2025)
2026
ASME B31.8
(Adopts H2)
CoP Development Timeline
2022
APGA RSC Ongoing 
CSA Z662
EPRG Guideline
202?
AS 2885 Series
Adopts H2
EIGA
IGC Doc 121/14
Aus, US & UK Hydrogen Injection / Blending Trials

## Slide 9
Industry-research collaboration at its best!
Marzieh Amanabadi
Tom Amrein
Andrej Atrens
Phil Colvin
James Czornohalan
Oliver Day
Cameron Dinnis
Gilles Dour
Amir Esmaeili
Raj Jeyarajah
Daniel Meyer-Rodenbeck
Guillaume Michal
Mike Peoples
Phil Colvin
Mehdi Fardi
Klaas van Alphen
Lead Authors
Josh Wickham
Nick Kastelein
Margaret Gayen
Sam Hatwell
Mark Lackenby
Craig Clarke
Dennis Kirk-Burnnand
Richard McDonough
Contributing Authors & Lead Reviewers